## Slide 1: Electrocardiography Part-1
Dr. Pallav Shekhar
Asstt. Professor
Veterinary Medicine
Bihar Veterinary College
Bihar Animal Sciences University, Patna
Unit-2

## Slide 2: ECG
Electrocardiograph
Electrocardiogram
Electrocardiography

## Slide 3: Introduction
Electrocardiography is a non-invasive diagnostic technique.
Information:
Heart rate and its rhythm
Electrical conductivity
Chamber size
Non cardiac illnesses such seizure, trauma, collapse, syncope, severe dyspnoea and many other conditions

## Slide 4: Tests: Limitations
Auscultation: Rate, rhythm, cardiac murmur
Electrocardiography: Arrhythmias, conduction disturbances and chamber size in dogs but remain silent about valvular heart diseases.
Echocardiography: Heart chamber size, status of heart valves, septal defects, wall thickness, pericardial effusion, blood flow patterns
Radiography: Cardiomegaly
Cardiac biomarker : Acute coronary syndrome, Cardiac Ischemia

## Slide 5: Definition
Electrocardiogram is a graphic representation ofthe electrical activities of the heart.
It has P,QRS and T complexes
P-R segment
P-R interval
S-T segment
Q-T interval and
R-R interval

## Slide 6: ECG-Indications
Gasping and panting
Dyspnoea
Seizures or Syncope
Evaluation of Heart for enlargement
Ascites
Electrolyte imbalance
Routine health Checkup
It has own limitation
Its finding should be correlated with clinical findings.

## Slide 7: Electrocardiograph
voltage meter and amplifier
1mV
Heat sensitive graph paper
Control Panel:
On/off
Sensitivity: 1mV, 2mV, 0.5mV
Speed: 25mm/sec 50mm/sec
Filter: To reduce the disturbance
Lead selection : 1, 11, 111, aVR, aVL or aVF

## Slide 8: Electrodes: 4 +

## Slide 10: 5th Electrodes
The other cable has V leads or exploring chest leads ( consisting of 6 separate electrodes marked as V1,V2,V3,V4,V5 and V6).
Alligator clips , flat contact clips or needles are used to attach to these electrodes so that these can be attached to the skin of the dog .

## Slide 11: Lead System
Leads used to evaluate heart
Each lead has direction and polarity and records depolarization and repolarization process aligned to it.
Bipolar Standard lead system
Augmented unipolar limb lead system
Bailey’s Hex-axial Lead system
Special Lead System

## Slide 12: Bipolar Standard Lead System
Consists of three leads
I, II, III
Compares potential difference of two limbs.
It evaluates activation of the heart in the frontal plane

## Slide 13: Triangle??

## Slide 14: Recording of ECG

## Slide 18: FORMATION OF THE P-QRS-T COMPLEX

## Slide 19: Augmented unipolar limb lead system
aVR, aVL and aVF
Additional information about cardiac vector.
An augmented lead compares the electrical potential at the reference limb to the sum of electrical activity at the other two limbs.
The word ‘a’ stands for augmented , ‘V’ stands for vector and words R,L and F stand for right forelimb, left forelimb and frontal ( represents left hind limb)respectively.

## Slide 20: 3 leads
aVR - Electrical potential of right forelimb (+) is compared to the sum of electrical potential of left forelimb and left hind limb (-).
aVL - Electrical potential of left forelimb (+) is compared to the sum of electrical potential of right fore limb and left hind limb (-).
aVF - Electrical potential of left hind limb (+) is compared to sum of electrical potential of right and left forelimbs (-).

## Slide 21: Bailey’s Hex-axial Lead system
This is most widely used lead system in canine and feline electrocardiography. It combines both Bipolar standard and Augmented unipolar lead systems.

## Slide 22: Special Lead System
Unipolar precordial chest leads
In dogs four chest leads are used. These leads view the heart from the transverse plane and provides important information for the diagnosis of heart enlargement ( right or left), bundle branch blocks, ischaemic heart changes and arryhthmias.
rV2( CV5 RL), V2 (CV6 LL), V4 (CV6 LU) and V10

## Slide 23: Summary
In dogs and cats most of the electrocardiaographic investigations are based on evaluation of bipolar standard leads particularly Lead II.
Augmented unipolar leads are used to determine mean electrical axis or the position of the heart and confirming the changes observed in standard leads.
The unipolar precordial chest leads are not well established in canine electrocardiography.
V10 lead is most frequently used among the precordial chest leads to confirm changes in right heart.

## Slide 24: Electrocardiographic paper
It is a graph paper lined into boxes .
There are two types of boxes i.e. large and small.
Every fifth horizontal and vertical line is darker than others.
Horizontal lines are 1 mm apart that represents 0 .1 mV when ECG is set to the sensitivity of 1 ( i.e. 1.0 cm or 10 mm = 1 mV), or 0.05 mV when sensitivity is set at 2, or 0.2 mV when sensitivity is set at 0.5.
The vertical lines are also 1 mm apart and represents the time interval of 0.04 sec when recording is done at the speed of 25 mm per second or 0.02 second when recording is done at the speed of 50 mm per second.
Magnitude of electrocardiographic complexes is expressed in mV and duration in seconds.

## Slide 25: Electrocardiographic paper

## Slide 26: Time and speed
Time is represented on X axis of the graph i.e horizontal line.
This axis is used to calculate duration of waves, segment and intervals.
25mm/second
50 mm/second
At the speed of 25 mm/second, distance between two vertical lines denotes………………….. second
At the speed of 50 mm/second distance between two vertical lines denotes ………………… second.

## Slide 27: Sensitivity
Sensitivity is represented on Y axis of the graph.
This axis denotes the amplitude of the different waves.
I (one) 1mm=0.1mV
2 (two) 1mm= 0.05mV
0.5 (Half) 1mm= 0.2mV

## Slide 28
Thank you

## Slide 29
THANK YOU